Biol 465	 Lab 5: 	Practical Application of Antigen

Immunology	           	 Recognition: Pregnancy testing

Today’s lab is really the second time we have applied antigen-antibody reaction in a diagnostic application.  The agglutination of RBCs for ABO blood testing was a quick and easy to visualize antibody-antigen interactions in the lab.  However, this kind of testing is typically done in a lab by professionals and includes controls to insure safety in blood donation.   The home pregnancy test is for all practical purposes a simple, observable antigen-antibody reaction. Since it uses both an immunological activity and an observable color change it is referred to as an immunochromatographic   test.

Modern pregnancy tests

Most commercially available pregnancy tests look for the presence of the beta subunit of human chorionic gonadotrophin (hCG) in the blood or urine.  hCG is found in blood and urine of a pregnant woman after implantation of the embryo (6-12 days after fertilization).  hCG  is only found in humans during pregnancy so it is an ideal indicator of pregnancy.  The fact that it is secreted so early in pregnancy also makes it a preferred antigen in immunological tests. Although there are several variations on the pregnancy test, all are based on detection of a specific antigen (e.g. hCG) , by a specific antibody (produced in an animal which has been immunized with the antigen—review this! ).  How that antigen-antibody binding is visualized varies from test to test, but most tests rely on lateral flow of the body sample, usually urine.

In a lateral flow test, the test sample is applied at one end of a test strip and flows toward the other end by controlled absorption or capillary action.  The test strip will have indicator substances at various positions along the test strip.  As the urine passes the indicator substances, a color either appears (or not ) according to the specific test design and the presence of pregnancy antigens.

Immunology behind the tests:  The most sophisticated tests actually use a series of  2 or 3 antibodies, one of which becomes bound to hCG and then bound by antibodies raised against this antibody (secondary antibodies—review this! ).  These types of assays are called “sandwich assays” since the antibodies end piling up with each binding another in succession.  http://www.whfreeman.com/kuby/content/anm/kb07an01.htm

Other tests use 1 or more antibodies which are specific for different regions (epitopes) of the hCB  protein. http://student.ccbcmd.edu/courses/bio141/labmanua/lab17/preg_flash.html

Visualizing the test results: The results of a pregnancy test must be easy to interpret since they are commercially available for the public. You should not have to understand the immunology behind them to use them correctly!   Modern tests work in one of 2 ways, typically. Both methods require that the antibodies used must be modified by adding something to them. Most tests use immobilized indicator regions so the results come out in one spot on the test strip.

- The enzyme-linked immunosorbant assay ( ELISA ) method. In this case, the antibody(ies) are linked to an enzyme.  Lateral flow of urine and hCG and bound antibodies brings the enzyme in proximity to a bound (fixed) substrate.  The enzyme and substrate mix, resulting in a chemical reaction that produces a color change in the substrate.  The color change ultimately means that hCG was present in the urine.

- Physical migration of pigmented particles.   In this case, hCG binds to antibodies which have some type of pigmented particle attached (sometimes colored  latex beads).  Within the test strip is another fixed substance (often another antibody!) which results in the stoppage of flow and the collection of the pigmented particles in a concentrated area.  The user notes a line or pattern where the pigment deposits.

Controls for the tests:  Most pregnancy tests include some type of control to make sure the test was done properly and that the results are indicative of the woman’s pregnancy status.  Although a positive result can rarely be due to anything but the presence of hCG, a negative result could come from any number of failures in the test. In other words, a woman could be pregnant, and get a “false negative” result.  Usually the control tests two aspects:

- The complete flow of urine to the important parts of the test strip.

- The presence/activity of the antibodies used in the test.

View again paying special attention to the control aspect of the test.

http://www.whfreeman.com/kuby/content/anm/kb07an01.htm