---------------------------------------------------------

Recall what type of cell line THP-1 is.  How does it grow?  Where did it come from?  How is it similar to the same cell type in the human body?

Today we will practice basic cell culture techniques using a cell line derived from a leukemia patient. The cell line is called THP-1 and I use it in my research.

Today’s goals:

- Become familiar with THP-1 cell type, morphology, and in vitro growth characteristics.

- Practice sterile techniques for passing cells to fresh media.

- Determine cell concentration (# cells/ml culture media) and viability.

- Set up new cultures for a cell differentiation experiment.

Materials

Flask of THP-1 cells

Sterile transfer tube

Sterile pipettes/pipettor

Phosphate buffered saline PBS (to dilute cells for counting)

Trypan blue solution

Tubes for preparing/diluting cells

Hemacytometer

Clean flask for new culture

Procedure

- Make observations of THP-1 cells growing in plastic flasks.  Dr. Super will have a flask of cells that were transferred to fresh media.  Note shape/morphology of the cells, using the inverted microscope.

- Begin passage of cells--- First you use some of the cells for counting (determining a cell concentration).  Later you will set up 2 dishes of cells for monitoring next week.   Normally, we would do the cell transfer in a cabinet called a laminar flow hood, but the size of the class makes that impractical. Use all sterile plastic pipettes and take care not to touch any surfaces with the tips.  Dr. Super will demonstrate and advise.

- EACH LAB PAIR

  - Thoroughly sterilize all surfaces with the 70% ethanol.

  - Prepare a counting tube with your name; loosen the cap.

  - Loosen the cap on your sample of cells.

  - Carefully, partially unwrap a 5 ml pipette. Insert the top into the pipettor, keeping the tip in its wrapper.

  - Carefully pull off the wrapper, and transfer 1 ml of cells from the flask to the sterile tube. Cap the tube.

  - Tighten the cap on the flask of cells and allow the next students to use the flask.  I  will return the flask to the CO2 incubator

- Determine of cell concentration (# cells/ml) and viability.  Trypan Blue (TB)  is an indicator of dead cells.  Dead cells, with compromised membranes, take up trypan blue, whereas live cells exclude it.  You will gain some experience distinguishing live and dead cells here.

  - Start by diluting cells in the cell dye Trypan Blue (TB). (100 l TB + 100 l cells).

  - Charge the hemacytometer and count cells in 4 of the big (0.1mm3) squares.

  - If cells are too concentrated to count accurately, dilute with the PBS buffer and repeat the trypan blue staining. (again 100 l TB + 100 l diluted cells.)

  - Keeping track of all dilution steps, determine:

- the concentration of cells in your flask  (#cells/ml media)**You will need to recall the volume of the hemacytometer.

- the total number of  cells you started with or that remain in your flask downstairs

- the viability (number of live cells/total).

- Setting up the differentiation experiment.  We will use a 6-well plate to set up a sample of cells treated with a differentiation agent and a control sample of untreated cells.

Each well of the plate will take 5 ml (milliliters) of cell culture.  You will want your cells to be reduced to 0.1 X106 cells/ml in that 5 ml culture.  (You will be required to dilute your cell culture appropriately using extra media.    Use a logical approach, Discuss---try to work out the calculation).

  - Each pair of students should set up 2 wells in a plate.

  - One well will contain only media and FBS

  - The other well will get a drug called TPA (also called PMA).  TPA/PMA is a chemical known to induce differentiation of monocytes.  It has been used to study HOW monocytes change when they specialize.

- Add ______ul to the second well to attempt to induce differentiation.

We will observe the cells every day for the next week, to note differences that may appear.  Be sure to observe daily and make sketches in your lab book.  Provide some written descriptions of the cultures as well.  Try to make some predictions of what is happening?   How might this correspond to what happens in a human during an immune response.