Molecular Biology Lab

Lab 9 Part 2

qPCR analysis

Please take a moment to review your lab 9, qPCR background information to refresh your memory of the qPCR experiment . Our template was the pGLO plasmid containing 3 genes, one of which was GFP. Our starting template sample was ~40  ng/l,  which each group used to make 10-fold serial dilutions. Be sure to know the concentration of each dilution sample you used in qPCR.

We set the following objectives.

Objectives:

1.  Understand the theory of qPCR ( e.g. SYBR green, CT)

2.  Understand the use of standards in optimizing qPCR

3.  Prepare serial dilutions—use dilution series to calculate concentrations or absolute quantities of DNA.

4.  Interpret the qPCR results after a run.

Today we will analyze the qPCR data.  I’ve printed out the main pages one would normally review after a qPCR experiment.  You should review them yourself, and later with our lab partners and determine how well our data would fit the expectations for this experiment.  I’ve included all data for all groups.  Use the questions to start analyzing your experiment.

Raw data spreadsheet  and  corresponding graph of fluorescence vs. cycle number.

What does the spreadsheet include in terms of data?  Discuss with your partner(s) what each column represents and how well your data fits your expectations.

The graph is unlabelled, but the computer assigns similarly colored lines for replicates?( Each line corresponds to data in your spreadsheet.)  Find the threshold line and predict the CT for each group of lines.  How tight are your replicates (confirm with spreadsheet).

What is the CT for your group for each dilution?  What is the mean CT for each dilution?  How far apart are the average means?  What would you expect?

Is the no template control (NTC) data what you might have expected?  Is there cause for concern?  Explain.

Page 3---Graph of CT vs. Log of the starting quantity. (typical standard curve)

This graph summarizes our dilution scheme and the corresponding CT .

Why is the log value used?

This analysis is essential to determine the validity of the PCR run and could be used to analyze an unknown sample.  Explain.

Page 4—Melt curve for the products made during the qPCR amplification.   A very important final check on your qPCR run is analysis of the endpoint product.  Since SYBR green will show amplification of any double-stranded product, it is essential that you check to see that a single, expected product is produced.   To check this, at the end of the run, the thermal cycler goes through continuous series of temperature changes (from the annealing temp up to about 95 degrees C).

As the temperature increases what will happen to the PCR products?

How does this influence fluorescence ?(think SYBR green)

The melt curve plots the change in fluorescence (negative first derivative of fluorescence vs. temperature).  A sharp peak will form at the temperature at which fluorescence changes rapidly.  This corresponds to the melting temperature (Tm) for an amplification product in the tube.

What determines Tm for a DNA duplex?

A common problem with PCR is the interaction of primers that allow small amplification products to form (called primer-dimers).  They will cause SYBR green to fluoresce brightly too.

Why is this a problem in SYBR green qPCR?  How does the melt curve help sort this out?

How does the melt curve look for our experiment?

How could you analyze the PCR products using a different method?

**Please construct a conclusions section to your experiment (for your lab book) including all of the analysis points discussed above.